DUTIES TO BE PERFORMED

SIDING, FASCIA & PAINT

- Prep, remove & replace existing siding & fascia.

- Install siding atop any asbestos panels.

- Pressure wash, sand, prime & paint all wood siding, fascia, soffit & doors.

- Clean up & haul away all debris.

ASPHALT

- Demo existing parking lot asphalt & replace accordingly.

- Restripe parking lot accordingly.

- Clean up & haul away all debris.

AIR CONDITIONING

- Install a 1-ton 15 seer mini split AC unit in back room.

- Seal existing ducts as needed.

- Clean up & haul away all debris.

STAIRWAY

- Demo existing staircase.

- Hang drywall, tape & float, apply texture, prime, & paint to match.

- Clean up & haul away all debris