Date: 10/24/2025

Project Location: 408 E. Houston St., San Antonio, TX 78205

San Antonio Digital Media and Arts Permit #: SIG-PMT-APP25-20802255

Sign Company: Outfront Media

Scope of Work

- Mount a 467 sq. ft. LED digital sign for advertising and art promotion as part of the San Antonio Digital Media and Arts Pilot Program on the Northeast corner of the building.

- Fabricate and install new 16’10” tall x 27’ 9”wide steel sign structure.

- Mount sign frame to existing vertical concrete filled, steel columns with mounting plates welded to the column steel.

- Overall Height of the sign from the street will be 59’ 6”

- All steel plates mounted to building will be hot dipped galvanized to prevent building discoloration.

- Steel LED digital sign cans will be mounted to the face of the frame.

- The sides of the sign frame will be covered with decorative steel mesh and painted to match the building exterior for aesthetic appeal.

- Minimum demolition will be involved. Some exterior stucco will need removed at the (4) mounting locations. Approximately 1 sq.ft. at (4) locations.

- After installation is complete, only the LED sign face and decorative mesh cladding will be visible.